|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1954 Airport Road Atlanta, GA 30341 | **ESTIMATE** | |  | | --- | | **Date: 08/11/2025** | | **WO:**   **4180181** | |

#### **Address: 2291 Osceola Forest Court Jacksonville, FL 32259**

Note: There is a crack in the septic tank walls. If repairs are needed in the future, we can provide a bid in future after inspecting the walls.

| **NO** | **ITEM** | **QTY** | **PRICE** | **TOTAL** |
| --- | --- | --- | --- | --- |
| 1 | We recommend pumping out over 12 inches of accumulated dirt at the bottom of the septic tank, which is causing strain on the dosing pump and may lead to premature failure. Removing this buildup will help restore proper pump function and prevent further damage. | 1 | $1,420.00 | $1,420.00 |
| **Total** | | | **$1,420.00** | |